## Confidentiality
NATF Cyber Security Supply Chain Criteria for Suppliers
Version 1.0
Approved: 01/31/2020
Document ID: 1355
Open Distribution
Copyright © 2020 North American Transmission Forum. All rights reserved.
Disclaimer
This document was created by the North American Transmission Forum (NATF) to facilitate industry work to improve reliability and resiliency. The NATF reserves the right to make changes to the information contained herein without notice. No liability is assumed for any damages arising directly or indirectly by their use or application. The information provided in this document is provided on an “as is” basis. “North American Transmission Forum” and its associated logo are trademarks of NATF. Other product and brand names may be trademarks of their respective owners. This legend should not be removed from the document.
Version History:
Date | Version | Notes
2019-07-30 | 0 | Initial version
2020-01-31 | 1 | Refined Version 0 Criteria - Contributions from the NATF Proof of Concept Team and Industry Organizations

## Version 1 information
Open Distribution
Information Points for Version 1
| 1 | The criteria provided here is composed of two categories: *Organizational Information *Supplier Criteria
| 2 | Organizational Information provides information about the supplier's organization.
| 3 | Supplier Criteria provides a benchmark for supplier's cyber security practices and a supplier's level of adherence to these criteria may identify areas of risk for Bulk Power System products or services. Information regarding a supplier's adherence to these criteria is a data input into an entity's risk analysis for the supplier. Many of the criteria are to ascertain good cyber security measures for an entity and are above and beyond the requirements of NERC Reliability Standards.
| 4 | For additional information, see the NATF Supplier Cyber Security Assessment Model Overview and the Supplier Assessment Model documents, both of which are available on the NATF web site.
The NATF model and complementary products of other organizations provide a streamlined, effective, and efficient industry-accepted approach for entities to assess supplier cyber security practices. Use of the NATF Criteria and Supplier Cyber Security Assessment Model is voluntary and if applied widely, will enable suppliers to be less burdened and more responsive, provide entities with more and better information, and improve cyber security .

## Organizational Information
Open Distribution | [5 empty] | Copyright © 2020 North American Transmission Forum, Inc.
Mapping to Existing Frameworks
|  |  |  | Required by NERC Reliability Standards? |  | NIST | [5 empty] | ISO 27001 | SOC2
Criteria Identification Number | Risk Area | Cyber Security Initial Information | Notes | Good security practices; exceeds NERC CIP Standards' requirements | CIP-013 requirement or supports other standards | Governance and all criteria NIST SP 800-161, 800-53 | Access NIST SP 1800-2 | Asset Chg Config - NIST SP 1800-5 | Info Protection - NIST SP 800-171 | Incident Response - NIST SP 800-184, 800- 150, 800-61 | Vulnerability Mgmt - NIST SP 800-64, 800-160, 800-82, 800-115, 800-125 | List other versions of ISO 27001.xxxx, 2700X ISO-62443 | S0C FOR SUPPLY CHAIN SOC FOR CYBER SECURITY
OI.1 | Organizational Information | Supplier or Company Name
OI.2 | Organizational Information | Provide parent organizations for supplier
OI.3 | Organizational Information | Provide any other subsidiaries or divisions of identified parent organizations
OI.4 | Organizational Information | Provide any supplier subsidiary organizations
OI.5 | Organizational Information | Provide Dun & Bradstreet Number
OI.6 | Organizational Information | Supplier Address
OI.7 | Organizational Information | Supplier web site
OI.8 | Organizational Information | Name of primary contact for information on the form
OI.9 | Organizational Information | Email address for primary contact for information on the form
OI.10 | Organizational Information | Phone number for primary contact for information on the form
OI.11 | Organizational Information | Total number of employees
OI.12 | Organizational Information | Total number of contractors
OI.13 | Organizational Information | Annual gross revenue
OI.14 | Organizational Information | Provide number of years supplier has been in business
OI.15 | Organizational Information | Provide any countries other than the United States or Canada in which supplier operates (has an office, sells product or conducts any business) (indicate if none)
OI.16 | Organizational Information | Provide any countries other than the United States or Canada in which supplier's product (i.e. hardware, software, firmware or components) is manufactured or developed (indicate if none)
OI.17 | Organizational Information | Provide any countries other than the United States or Canada in which supplier's product (i.e. hardware, software, firmware or components) is assembled (indicate if none)
OI.18 | Organizational Information | Provide a summary for any pending or resolved product-related litigation in the last ten (10) years
OI.19 | Organizational Information | Provide any bonding company requests to intervene or make payments on supplier's behalf for any product manufacturing /development in the last ten (10) years
OI.20 | Organizational Information | Provide the level of current cyber security risk insurance coverage the organization has in place (indicate if none)
OI.21 | Organizational Information | Provide the number of contractors the organization employs in countries other than the United States or Canada (indicate if none)
OI.22 | Organizational Information | Provide any currently effective third-party assessment or certifications for cyber security frameworks, the dates covered and the date of expiration (as applicable)
OI.23 | Organizational Information | Provide the findings reports from third party verifications conducted for cyber security frameworks (provide the two most recent reports for each cyber security framework)
OI.24 | Organizational Information | Provide information on any mergers or acquisitions that have been publicly announced or completed with the last 5 years.

## Supplier Criteria
Open Distribution |  |  |  |  | Copyright © 2020 North American Transmission Forum, Inc.
Mapping to Existing Frameworks
|  |  | Required by NERC Reliability Standards? |  | NIST | [6 empty] | CIS Controls v7.1 | IEC 62443 | ISO 27001 | SOC2 | UL2900
Criteria Identification Number | Risk Area | NATF Cyber Security Supply Chain Criteria for Suppliers Version 1 (NATF Board Approved) | Good security practices; exceeds NERC CIP Standards' requirements | CIP-013 requirement or supports other standards | Governance and all criteria NIST SP 800-161, 800-53 | Access NIST SP 1800-2 | Asset Chg Config - NIST SP 1800-5 | Info Protection - NIST SP 800-171 | Incident Response - NIST SP 800-184, 800- 150, 800-61 | Vulnerability Mgmt - NIST SP 800-64, 800-160, 800-82, 800-115, 800-125 | Cybersecurity Framework Version 1.1 |  |  | List other versions of ISO 27001.xxxx, 2700X if applicable | S0C FOR SUPPLY CHAIN SOC FOR CYBER SECURITY
1 | Access Control and Mgmt | Supplier establishes and maintains an identity and access management program that ensures sustainable, secure product manufacturing/development |  | R1.2.3 R1.2.6 | PR.AC 1-5 Rev. 4 AC-1-6 IA Family AC-16-20 CM-7 PE-2-6 PE-9 SC-7 | [5 empty] | PR.AC-1 PR.AC-4 PR.AC-5 PR.AC-6 PR.AC-7 PR.PT-3 | CSC 14: Controlled Access Based on the Need to Know CSC 16: Account Monitoring and Control | 2.4 SP.03.01 2.4 SP.03.07 2.4 SP.03.08 | A.9.1.1 A.9.4.1 | CC5.1 CC5.4 CC6.1 CC6.2 CC6.3 CC6.5 CC6.6
2 | Access Control and Mgmt | Supplier establishes and maintains a program that ensures storage security at supplier's site (e.g. chain of custody) | x |  | PR.AC-4 Rev. 4 AC-16 MP-4 | [5 empty] | PR.AC-1 PR.AC-4 PR.AC-5 PR.AC-6 PR.AC-7 PR.PT-3 | CSC 14: Controlled Access Based on the Need to Know CSC 16: Account Monitoring and Control | 2.4 SP.03.10 | A.15.1.2 | CC5.1 CC5.7 C1.2 C1.3
3 | Access Control and Mgmt | Supplier's personnel vetting process allows supplier to share background check criteria and results with entity for confirmation of process or verification of sampled employees | x | Supports CIP-004 R3.4 | [8 empty] | 2.4 SP.01.04 | A.7.1.1 | CC1.4
4 | Access Control and Mgmt | Supplier has a process that requires supplier to have background checks (e.g. personnel risk assessments) conducted for all of its employees and contractors. Please provide a list of any exempted employees or contractors due to restrictions by country of employment (i.e. by country) Supplier's process requires supplier to conduct background checks at least every 7 years. If process does not require at least every 7 years, provide frequency that supplier's process requires | x | Supports CIP-004 R3 | PR.AC-1 Rev. 4 PS-3 | [5 empty] | PR.AC-1 PR.AC-4 PR.AC-6 | CSC 16: Account Monitoring and Control | 2.4 SP.01.04 No mention of min 7 years | A.7.1.1 | CC1.4
5 | Access Control and Mgmt | Supplier requires approval for access based on need for all employees and contractors with access to supplier’s assets and facilities | x |  | PR.AC-4 Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-4 PR.PT-3 | CSC 14: Controlled Access Based on the Need to Know | 2.4 SP.01.07 | A.9.1.1 A.9.1.2 | CC5.1 CC5.4
6 | Access Control and Mgmt | Supplier maintains an access list of all individuals with access to supplier’s assets, information, and facilities | x |  | PR.AC-4 Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-1 PR.AC-4 PR.AC-6 | CSC 6: Maintenance, Monitoring, and Analysis of Audit Logs CSC 16: Account Monitoring and Control | 2.4 SP.01.07 | A.9.2.1 A.9.2.2 | CC5.1 CC5.4 CC5.6 CC6.2 CC6.3 CC6.4
7 | Access Control and Mgmt | Supplier conducts an annual review of all individuals' access to supplier’s assets, information, and facilities If not reviewed annually, provide frequency | x |  | PR.AC-1 Rev. 4 AC-2 IA Family | [5 empty] | PR.AC-1 PR.PT-1 DE.AE-3 | CSC 6: Maintenance, Monitoring, and Analysis of Audit Logs CSC 16: Account Monitoring and Control | 2.4 SP.01.07 | A.9.2.5 A.15.1.1 | CC5.4 CC6.4
8 | Access Control and Mgmt | Supplier maintains an access list of all individuals with access to entity’s assets, information and facilities |  | R1.2.3 R1.2.6 | PR.AC-4 Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-1 PR.AC-4 PR.AC-6 | CSC 16: Account Monitoring and Control | 2.4 SP.01.07 | A.9.2.5 A.15.1.1 | CC5.1 CC5.4 CC5.6 CC6.1 CC6.4 CC6.6
9 | Access Control and Mgmt | Supplier conducts an annual regular periodic review of all individuals' access to entity’s assets, information, and facilities where supplier is provisioning and deprovisioning access If not reviewed annually, provide frequency | x | Supports CIP-004 R4.2, 4.3 | Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-1 PR.PT-1 DE.AE-3 | CSC 6: Maintenance, Monitoring, and Analysis of Audit Logs CSC 16: Account Monitoring and Control | 2.4 SP.01.07 | A.9.2.5 A.15.1.1 | CC5.4 CC6.4
10 | Access Control and Mgmt | For access within supplier's system functioning as a BCSI repository for entity data, supplier revokes access within 24 hours when any individual no longer requires access due to change in employment status or job duties | x |  | PR.AC-4 Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-1 PR.PT-1 DE.AE-3 | CSC 14: Controlled Access Based on the Need to Know CSC 16: Account Monitoring and Control | 2.4 SP.01.07 | A.9.2.6 | CC5.4 CC6.4
11 | Access Control and Mgmt | For access within supplier's system, supplier has internal controls to ensure it revokes access when an individual no longer requires access due to change in employment status or job duties | x | Supports CIP-004 R5 | PR.AC-4 Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-1 PR.PT-1 DE.AE-3 | CSC 14: Controlled Access Based on the Need to Know CSC 16: Account Monitoring and Control | 2.4 SP.01.07 | A.9.2.2 A.9.2.5 A.9.2.6 | CC5.3 CC5.4 CC6.4 CC6.3 CC6.5
12 | Access Control and Mgmt | For access within supplier's system, supplier revokes access when an individual no longer requires access due to change in employment status or job duties | x |  | PR.AC-4 Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-1 PR.PT-1 DE.AE-3 | CSC 14: Controlled Access Based on the Need to Know CSC 16: Account Monitoring and Control | 2.4 SP.01.07 | A.9.2.6 | CC5.2
13 | Access Control and Mgmt | Supplier notifies entity of any revocations affecting electronic or unescorted physical access into entity’s assets or facilities within 4 hours of either a change in business need for access or termination If supplier cannot notify entity in 4 hours, provide the number of hours supplier needs |  | R1.2.3 | PR.AC-4 Rev. 4 AC-2 AC-3 AC-5 AC-6 AC-16 | [5 empty] | PR.AC-1 PR.PT-1 DE.AE-3 | CSC 14: Controlled Access Based on the Need to Know CSC 16: Account Monitoring and Control | 2.4 SP.01.07 (no mention of 4 hours)
14 | Access Control and Mgmt | If remote access is needed into the entity's system, supplier obtains authorization from entity prior to initializing each remote access session (procedural control) | x |  | PR.AC-3 Rev. 4 AC‑17 AC-19 AC-24 | [5 empty] | PR.AC-1 DE.AE-3 PR.PT-1 | CSC 14: Controlled Access Based on the Need to Know CSC 16: Account Monitoring and Control | 2.4 SP.07.04 | A.6.2.2 A.9.4.2 A.15.1.1 A.15.1.2 A.15.1.3 | CC5.3 CC6.1 CC6.2 CC6.3 CC6.6 CC6.7
15 | Access Control and Mgmt | If remote access is needed, supplier cannot gain remote access without entity authorization (technical control, i.e. no "back door") |  | R1.2.6 | PR.AC-3 Rev. 4 AC‑17 AC-19 AC-24 | [5 empty] | PR.IP-1 PR.PT-3 DE.AE-1 | CSC 5: Secure Configurations for Hardware and Software CSC 9: Limitation and Control of Network Ports | 2.4 SP.07.04 | A.6.2.2 A.9.2.2 A.9.4.2 A.15.1.1 A.15.1.2 A.15.1.3 | C1.2 C1.3 C1.4 CC1.5 CC5.1 CC5.2 CC6.1 -CC6.3 CC6.6 CC6.7
16 | Access Control and Mgmt | The supplier implements security controls for the use of devices that access entity's system (e.g. mobile, laptop, non-company devices) | x |  | PR.AC-3 Rev. 4 AC‑17 AC-19 AC-20 | [5 empty] | PR.IP-1 PR.PT-3 | CSC 5: Secure Configurations for Hardware and Software | 2.4 SP.03.07 |  | CC3.2 CC6.1 CC6.2 CC6.3 CC6.5 CC6.6
17 | Access Control and Mgmt | If remote access is needed from supplier to entity, supplier's remote access terminates automatically upon a pre-determined time period with no activity or a pre-determined session time limit | x |  | PR.AC-3 Rev. 4 AC‑17 AC-19 AC-24 | [5 empty] | PR.AC-1 | CSC 14: Controlled Access Based on the Need to Know | 2.4 SP.07.03 | A.6.2.2 A.15.1.1 A.15.1.2 | CC5.1 CC5.6 CC6.1 CC6.3
18 | Access Control and Mgmt | Supplier establishes and maintains a process that ensures the security of system-to-system remote access including protection of Data at Rest and Data in Transit | x |  | PR.AC-3 Rev. 4 AC‑17 AC-19 AC-20 | [5 empty] | PR.DS-1 PR.DS-2 | CSC 13: Data Protection | 2.4 SP.07.01 2.4 SP.07.02 2.4 SP.07.03 2.4 SP.07.04 2.4 SP.03.10 | A.8.2.3 A.9.1.1 A.9.1.2 A.13.2.1 A.13.2.2 | CC5.1 C1.2 C1.3 C1.4 C1.5 CC6.1 CC6.7
19 | Access Control and Mgmt | Where supplier is connected to other entity's systems, supplier ensures that there is no undisclosed path or bridge into entity's system from other entity's system through the supplier | x |  | PR.AC-5 Rev. 4 AC-4 SC-7 | [5 empty] | PR.MA-2 | CSC 12: Boundary Defense | 2.4 SP.03.02 | A.15.1.2 | CC5.1 CC5.6 CC3.1 CC2.3 CC8.1
20 | Asset, Change, and Configuration Mgmt | Supplier provides inspection process documents for entity to receive equipment | x | [7 empty] | ID.SC-4 |  | 2.4 SP.02.01 | A.5.1.1 | CC3.1 CC2.3 CC8.1
21 | Governance | Supplier has a business continuity plan | x |  | PR.IP-9 Rev. 4 CP-2 IR-8 | [5 empty] | PR.IP-9 | CSC 10: Data Recovery Capabilities CSC 19: Incident Response and Management | 2.4 SP.12.09 2.1 4.3.2.5 | A.17.1.1 A.17.1.2 A.17.1.3 | A1.1 A1.2 A1.3
22 | Governance | Supplier has processes to notify entity of any mergers and acquisitions as soon as legally permissible | x | [9 empty] | 2.1 4.3.2.5 (no specific mention on M&A) | A.12.1.2 A.14.2.1 A.14.2.3
23 | Governance | Supplier notifies entity whenever production and/or operation of products and services entity has purchased is transferred to another supplier | x | [9 empty] | 2.4 SP.01.04 RE(1) | A.12.1.2 A.14.2.2 A.14.2.3 A.14.2.7
24 | Governance | Supplier obtains periodic independent third-party assessments or certification audits related to cyber security |  | Possible evidence of adherence to CIP-013 | [8 empty] | 2.4 SP.02.01 | A.18.2.1 | CC3.2 CC3.3 CC4.1 CC9.2
25 | Incident Response | Supplier maintains a cyber security incident response plan | x |  | PR.IP-9 Rev 4 CP-2 IR-8 |  |  |  | 61: 2.1, 2.3.2, 2.3.3 | 82: 3.3.2, 3.3.4, 6.2.8 | PR.IP-9 | CSC 19: Incident Response and Management | 2.4 SP.08.01 2.1 4.3.4.5.1 | A.16.1.1 A.16.1.5 | CC7.4
26 | Incident Response | Supplier reviews and updates its cyber security incident response plan at least annually If not reviewed annually, provide frequency | x |  | PR.IP-9 Rev 4 IR-8 |  |  |  | 61: 2.3.2 184: 3.1 |  | PR.IP-10 | CSC 19: Incident Response and Management | 2.4 SP.08.01 2.1 4.4.3.2 (review CSMS periodically) | A.16.1.1 A.16.1.6 A.17.1.3 | CC7.5
27 | Incident Response | Supplier cyber security incident response plan contains clear roles and responsibilities which includes coordination of responses to their customer(s) | x |  | PR.IP-9 Rev 4 IR-1 IR-2 IR-8 |  |  |  | 61: 2.3.1, 2.6, 3.2.7 150: 3.4 |  | RS.CO-1 | CSC 19: Incident Response and Management | 2.4 SP.08.01 2.1 4.3.2.6 | A.16.1.1 | CC7.4
28 | Incident Response | Supplier's cyber security incident response plan contains requirements to notify entities that purchased impacted products or services within 24 hours of initiation of the supplier's plan |  | R1.2.1, R1.2.2 | PR.IP-9 Rev 4 IR-8 |  |  |  | 61: 3.2.7 150: 3.3, 3.4, 3.5 184: 2.4 | 160: 2.3.2, 3.3.QA-5 | PR.IP-9 | CSC 19: Incident Response and Management | 2.4 SP.08.01 2.1 4.3.4.5.3 2.1 4.3.4.5.5 (no 2 hours mention) 2.4 SP.08.03 2.1 4.3.4.5.3 | 7.4 A.16.1.1 A.16.1.2 A.16.1.5 | CC2.3 CC7.4 CC7.5
29 | Incident Response | Supplier's cyber security incident response plan contains steps to identify, contain, eradicate, recover | x | R1.2.2 |  |  |  |  | 61: 3.2.2, 3.2.3, 3.3.4 150: 4.2, 3.3.4 184: 2.3.3, 2.3.4 |  | PR.IP-9 | CSC 19: Incident Response and Management | 2.4 SP.08.01 2.1 4.3.4.5.6 2.1 4.3.4.5.7 2.1 4.3.4.5.10 2.1 4.3.4.3.8 | A.16.1.1 A.16.1.4 A.16.1.5 | CC3.2 CC7.2 CC7.3 CC7.4
30 | Incident Response | Supplier cyber security incident response plan includes steps and requirement to perform an after-action review, i.e. lessons learned | x |  | PR.IP-9 Rev 4 IR-4 IR-10 |  |  |  | 61: 3.3.4, 3.4.1 184: 3.2 |  | RS.MI-1 | CSC 19: Incident Response and Management | 2-1 4.3.4.5.1 2-1 4.3.4.5.8 2-4 SP.08.01 BR | A.16.1.1 A.16.1.5 A.16.1.6 A.16.1.7 | CC7.4 CC7.5
31 | Incident Response | Supplier’s cybersecurity incident response plan is periodically assessed Provide date of last assessment | x | [6 empty] | 115: 6.4.1, 6.5 |  |  | Comes with the certification | A.16.1.1 A.18.2.1 | CC3.1 CC3.2 CC4.1 CC7.4 CC9.2
32 | Incident Response | Supplier has taken appropriate action in response to assessment(s) of cyber security incident process | x | [9 empty] | Comes with the certification | A.18.2.1 A.16.1.6 | CC2.3 CC4.1 CC7.5
33 | Incident Response | Supplier exercises its cyber security incident response plan at least annually If not conducted annually, provide frequency | x | [5 empty] | 61: 2.3.2 184: 3.1 |  | PR.IP-10 | CSC 19: Incident Response and Management | 2-1 4.3.4.5.11 | A.16.1.1 A.17.1.3 | CC7.4 CC7.5
34 | Incident Response | Supplier has experience initiating its cyber security incident plan Provide the circumstances under which the plan was executed (test and/or actual) | x |  | PR.IP-9 Rev 4 IR-10 | [5 empty] | PR.IP-10 | CSC 19: Incident Response and Management | 2-1 4.3.4.5.10 | A.16.1.6 | CC7.4
35 | Incident Response | Supplier has demonstrated corrective actions for prior cyber security incident(s) | x |  | PR.IP-9 Rev 4 IR-10 |  |  |  | 61: 3.4.1 |  | RS.IM-2 | CSC 19: Incident Response and Management | 2-1 4.3.4.5.10 | A.16.1.6 A.16.1.7 | CC7.4 CC7.5
36 | Incident Response | Supplier has a process to notify entity of any supplier-identified cyber or physical security incidents related to their products or services that could pose risk to the entity In instances where the incident has the potential to affect the entity's data and/or operations, notification is provided to entity within 2 hours of identification. If not within 2 hours, provide number of hours before notification | x | R1.2.1 | PR.IP-9 Rev 4 IR-8 |  |  |  | 150: 2.1, 2.2 |  | RS.CO-2 RS.CO-3 RS.CO-4 | CSC 19: Incident Response and Management | 2-1 4.3.4.5.9 4-1 DM-5 2-4 SP.08.01 BR 2-1 4.3.4.5.5 | A.16.1.5 A.16.1.7 | CC2.3 CC7.4 CC7.5 CC9.2 PI1.5
37 | Incident Response | Supplier has a process to monitor industry threat and information sharing entities (e.g. US-CERT, National Vulnerability Database, CISA-AIS) | x |  | SA-9 |  |  |  | 150: 3.5 184: 2.5 |  | RS.CO-5 | CSC 19: Incident Response and Management | 2-1 4.4.3.3 | A.6.1.3 A.6.1.4
38 | Information Protection | Supplier has a documented program to identify, classify, protect, manage, and maintain sensitive information | x |  | PR.IP-8 Rev 4 SI-4 |  |  | All SP 800-171 |  |  | PR.DS-5 | CSC 13: Data Protection CSC 14: Controlled Access Based on the Need to Know | 2-1 4.3.4.4.1 2-1 4.3.4.4.2 2-1 4.3.4.4.4 | A.6.1 A.6.1.5 A.5.1.1 A.8.2.1 A.8.2.2 A.8.2.3 | CC2.1 CC3.2 CC6.7
39 | Information Protection | Supplier's information protection program includes safeguards and notifications regarding release of data to third parties |  |  | PR.IP-9 Rev 4 IR-8 | [5 empty] | DE.CM-7 | CSC 13: Data Protection CSC 14: Controlled Access Based on the Need to Know | 2-1 4.3.4.4.2 | A.13.2 | CC6.7
40 | Information Protection | Supplier's information protection program includes sanitizing media prior to disposal, release, or reuse | x |  | MP-6 |  |  | 3.7.3 |  |  | PR.DS-3 PR.DS-5 PR.IP-6 | CSC 17: Implement a Security Awareness and Training Program | 2-1 4.3.4.4.4 2-1 4.3.4.4.5 | A.8.3.1 A.8.3.2 A.8.3.3 | CC6.7
41 | Information Protection | Supplier's information protection program addresses all technologies in use (e.g. on-premise, co-located, off-site, or in cloud) | x |  | PM-11 |  |  | All SP 800-171 |  |  | ID.GV-1 PR.AT-1 | CSC 17: Implement a Security Awareness and Training Program | 2-1 4.3.4.4.2 | A.13.2.1 A.14.1.2 A.15.1.3 | CC6.7 CC5.7 C1.2 C1.3 C1.4 C1.5
42 | Information Protection | Supplier implements encryption or technologies to restrict access to and obfuscate Data in Transit (e.g. cryptography, public key infrastructure (PKI), fingerprints, cipher hash) | x |  | SC-13 |  |  | 3.8.6 |  |  | PR.DS-2 | CSC 13: Data Protection | 2-4 SP.03.08 RE(2) 2-4 SP.03.10 3-3 SR 3.1 3-3 SR 4.3 | A.10.1.1 | CC5.7 C1.2 C1.3
43 | Information Protection | Supplier's information protection program prohibits access to customer data without authorization | x |  | PR.PT-3 AC-3 |  |  | 3.8.1 3.8.2 3.13.4 |  |  | PR.AC-4 | CSC 14: Controlled Access Based on the Need to Know | 2-1 4.3.4.4.2 2-1 4.4.2 3-3 SR 4.1 | A.18.1.4 | CC5.1 C1.2 C1.3 C1.4 C1.5
44 | Information Protection | Supplier's information protection program includes managing and securing Data at Rest to ensure confidentiality, integrity and availability (e.g. supplier implements encryption or technology to restrict access and obfuscate sensitive data) | x |  | SC-28 |  |  | 3.1.21 3.8.6 3.8.7 3.8.9 3.13.16 |  |  | PR.DS-1 | CSC 13: Data Protection | 2-1 4.4.2 3-3 SR 4.1 | A.18.1.3 | CC5.7 C1.2 C1.3 C1.4 C1.5
45 | Information Protection | Supplier's information protection program includes data loss protection tools and practices to remediate data loss | x |  | PM-11 |  |  | 3.6.1 |  |  | DE.CM-1 RS.RP-1 RS.MI-2 | CSC 13: Data Protection | 2-1 4.3.4.3 2-4 SP.12.01 2-4 SP.12.04 | A.12.3 | A1.2 A1.3
46 | Information Protection | Supplier's information protection program includes secure destruction of sensitive information | x |  | SC-12 |  |  | 3.8.3 |  |  | PR.DS-3 PR.DS-5 PR.IP-6 | CSC 17: Implement a Security Awareness and Training Program | 2-1 4.3.3.3.9 2-1 4.3.4.4.4 | A.8.3.2 | A1.3 C1.2 P4.3
47 | Vulnerability Mgmt | Supplier has a documented program for secure product development, including applying security controls and secure coding techniques, within the system development life cycle | x |  | PL-7 SI-7 |  |  |  |  | 64: 3.2.3.3 64: 3.2.3.4 | DE.CM-4 PR.DS-7 PR.IP-2 PR.IP-3 | CSC 18: Application Software Security | 4-1 SM-1 | A.14.1.1 A.14.2.1-9 | P4.2
48 | Vulnerability Mgmt | Supplier establishes and maintains a security management program that validates the authenticity and origins of third-party hardware, firmware and software including open source code software | x |  | AU-10 | [5 empty] | ID.SC-3 ID.SC-4 PR.DS-6 PR.DS-8 | CSC 18: Application Software Security CSC 20: Penetration Tests and Red Team Exercises | 4-1 SM-3 | A.13.1 | CC3.1 CC3.2 CC3.3 CC4.1
49 | Vulnerability Mgmt | Supplier establishes and maintains a security program for the product or service being purchased, including implemented processes to verify the integrity and authenticity of the software, patches and firmware relevant to the product or service being delivered to the entity | x for firmware | R1.2.5 | CM-11 CI-3 SI-4 RA-5 |  |  |  |  | 64: 3.2.3.6 | ID.RA-1 PR.IP-12 DE.CM-8 RS.AN-5 RS.MI-3 | CSC 3: Continuous Vulnerability Assessment and Remediation CSC 5: Secure Configurations for Hardware and Software CSC 18: Application Software Security CSC 20: Penetration Tests and Red Team Exercises | 2-4 SP11.01 BR 2-4 SP11.02 BR 2-1 4.3.4.3.7 | A.12.1.2 A.12.5.1 A.14.2.2 | CC6.1 CC7.1 CC7.2 CC8.1
50 | Vulnerability Mgmt | Supplier has a process to assess and apply security patches in its environment within a predetermined timeframe Provide number of days to complete assessment and implementation | x |  | CM-11 PL-8 SA-3 SA-8 SA-17 |  |  |  |  | 64: 3.2.3.3 64: 3.2.3.4 64: 3.2.3.5 64: 3.2.3.6 | RS.MI-3 | CSC 3: Continuous Vulnerability Assessment and Remediation | 2-1 4.3.4.3 2-4 SP.11.02 BR | A.12.6.1 | CC6.1 CC7.1 CC7.2
51 | Vulnerability Mgmt | Supplier configures automated notifications of, and response to, software, patches and firmware integrity violations | x |  | SA-10 SI-7 |  |  |  |  | 64: 3.4.3.3 | PR.IP-12 RS.AN-5 RS.CO-3 RS.MI-3 | CSC 3: Continuous Vulnerability Assessment and Remediation | 2-4 SP.11.06 RE(3) | A7.4 | CC2.3 PI1.1
52 | Vulnerability Mgmt | Supplier implements process and controls to ensure system and information integrity |  | R1.2.5 | AC-6 PL-8 SA-17 | [5 empty] | PR.DS-6 PR.DS-8 | CSC 5: Secure Configurations for Hardware and Software | 3-3 SR 3.4 | A.12.1.1 A.12.1.2 A.12.1.3 A.12.1.4 | CC6.1 CC7.1
53 | Vulnerability Mgmt | Supplier uses secure central software repository after software, patches and firmware authenticity and integrity have been validated, so that authenticity and integrity checks do not need to be performed before each installation |  | R1.2.5 | SI-7 | [5 empty] | PR.DS-6 | CSC 5: Secure Configurations for Hardware and Software | 3-3 FR 3 | A.12.5 | CC8.1
54 | Vulnerability Mgmt | Supplier establishes and maintains a security program for the supplier's environment, including implemented processes to approve software, patches and firmware prior to installation, as well as to verify the integrity and authenticity of the software, patches and firmware relevant to any technologies or equipment used in the development, manufacturing, testing, assembly and distribution of the product or service | x | R1.2.5 | AC-6 PL-8 SA-17 SI-2 |  |  |  |  | 64: 3.2.3.6 | PR.DS-6 PR.DS-7 PR.DS-8 | CSC 5: Secure Configurations for Hardware and Software CSC 18: Application Software Security | 4-1 SM-6 2-1 4.3.4.3 2-4 SP.11.06 2-1 4.3.4.3.2 2-4 SP.02.01 BR | A.14.1.1 A.14.2.1-9 A.6.1.2 | CC6.1 CC 6.8 CC7.1 CC3.1 CC8.1
55 | Vulnerability Mgmt | Supplier uses scanning tools and techniques to detect vulnerabilities or malware in its environment and products |  | supports R1.2.4 | SA-3 |  |  |  |  | 64: 3.4.3.2 | DE.CM-8 | CSC 3: Continuous Vulnerability Assessment and Remediation | 2-4 SP 02.02 BR |  | CC3.1 CC3.2 CC3.3 CC6.1 CC7.1 CC7.2
56 | Vulnerability Mgmt | Supplier provides a specific list of, and justifications for, required logical ports (which may include limited ranges) and services required for its deliverables (either products or services) |  | Supports CIP-007 and CIP-010 | SA-12 | [7 empty] | 2-4 SP.02.03 BR
57 | Vulnerability Mgmt | Supplier notifies entity of any vulnerabilities in its products or services in a timely manner that does not increase threat vectors (i.e. security patch is available or vulnerability is publicly known or imminent to be released publicly) |  | R1.2.4 | SI-2 | [7 empty] | 2-1 4.3.4.3 2-4 SP.11.02 BR | A.12.6.1 | CC3.1 CC2.3 CC3.2 CC6.1 CC7.1 CC7.2 CC9.2
58 | Vulnerability Mgmt | Supplier digitally signs and validates software, patches and firmware prior to distribution |  | R1.2.5 | SI-7 |  |  |  |  | 64: 3 64: 3.4.3.2 | PR.DS-6 |  | 3-3 SR 1.9 3-3 SR 3.2
59 | Vulnerability Mgmt | Supplier establishes and maintains a program that includes risk-based practices for secure transport of cyber assets (e.g. chain of custody, tracking, enhanced packaging) |  | R1.2.5 | [8 empty] | 2-1 4.3.3.3.9 | A.15.2.1 A.15.2.2
60 | Vulnerability Mgmt | Supplier uses trusted and controlled distribution for electronic shipment of all products | x | Supports R1.2.4 R1.2.5 | AU-10 SA-4 SI-7 |  |  |  |  | 64: 3.2.3.5 64: 3.4.3.3 |  |  | -

## Acronyms and Definitions
Open Distribution |  |  | Copyright © 2020 North American Transmission Forum, Inc.
Acronym | Term | Definition (see Authority Location for Current Definition) Definition as of June 30, 2019 | Authority for Definition
| Company | a provider of products or services. For the purposes of this document, "supplier" is synomous with "Vendor" and "Company" and the terms may be used interchangeably
CSI | Cyber Security Incident |  | According to the NERC Standards Glossary of Terms 6/2019 A malicious act or suspicious event that: • Compromises, or was an attempt to compromise, the Electronic Security Perimeter or Physical Security Perimeter or, • Disrupts, or was an attempt to disrupt, the operation of a BES Cyber System
| Data at Rest |  | See NATF Definition
| Data in Transit |  | See NATF Definition
E-ISAC |  |  | Electricity Information Sharing and Analysis Center
KPI | key performance indicator |  | Not a defined term. A key performance indicator is a measurable value that demonstrates how effectively a company is achieving key business objectives.
PRA | personnel risk assessment |  | Not a defined term; term as used includes criteria as listed in NERC Reliability Standard CIP-004 R3.2
| Supplier | A provider of products or services. For the purposes of this document, "supplier" is synomous with "Vendor" (commonly understood meaning, including the NERC definition) and "Company" and the terms may be used interchangeably. For use in this workbook, Supplier is the company that sells the product, services or aggregation of products or services, to a purchasing entity.
US-CERT |  |  | United States Computer Emergency Readiness Team
| Vendor (also "Company" or "Supplier") |  | The term "vendor" is not a defined term in the NERC Glossary or CIP-013, CIP-005 or CIP-010. In CIP-013 and CIP-005, the term as used in the standard is explained. The NERC Glossary or NERC Reliability Standards are the source of authority for the definition of this term as used in this document. For ease, the following text appears in CIP-013-1 and CIP-005-6: "The term vendor(s) as used in the standard is limited to those persons, companies, or other organizations with whom the Responsible Entity, or its affiliates, contract with to supply BES Cyber Systems and related services."
| Supplier |  | For the purposes of this document, Supplier is a source that provides products or services to an entity. It is used to broadly to include "vendor" as defined in the NERC Reliabiity Standards.